# Introduction

## Proteomics

The proteome is referred to the sum of all proteins of a given sample at a given time. In the past several quantitative and qualitative assays were used to enlighten the protein composition of a sample.

An early approach of qualitative analysis of the cellular proteome involved labeling with fluorescent antibodies and imaging. The major disadvantage of this technique was the limitation to only stain a few proteins per cell. For quantification procedures such as single-cell Western blots, immunoassays or CyTOF have been used. Other disadvantages are the ability to permeate cells, accessibility and binding of the epitope and the creation of specific antibodies for a given protein \citep{Budnik2018}.

One of those techniques involved RNA-sequencing. Since RNA involves also non-coding RNA, the amount of RNA is often not proportional to the content of proteins in a cell. So the proteinaceous content of a cell was only predicted and quantitative analysis was not possible.

## Mass Spectrometry

Mass spectrometry enables qualitative and quantitative analysis of the entire repertoire of a biological sample. The availability of gene sequences in databases and the ability to match proteins against those sequences with computational methods makes it possible to identify alterations of a sample on a protein level. These alterations can rely on the sequence level or could be to post-translational modifications (PTMs) such as phosphorylation, methylation or else \citep{Aebersold2003}.

Mass to charge ratio (m/z)

### Instrumentation

#### Cell Isolation

#### Lysis

#### Digestion

#### Liquid chromatography

In order to separate proteins according to their chemical properties, size or species a liquid chromatography (LC) is recommended before ionization.

#### Ionization

In order to analyze a biological sample consisting of proteins in solution the liquid needs to be vaporized into gas phase. Two techniques are capable of this procedure. Electrospray ionization (ESI) pushes the analyte through a capillary and applies an electric current to the liquid, vaporizing the sample to a charged aerosol. Biomolecules are fragmented according to their chemical properties and can be further handled in the mass spectrometer. The fragmented biomolecules are now in charged droplets separated by their charge on the surface, splitting further into smaller droplets until they become a gas phase ion. Two physical models describe the process from gas phase to ion called “The ion evaporation model” (IEM) and “The charge residue model” (CRM).
In the ion evaporation model (by Iribarne and Thomoson) the droplets shrink by evaporation until ions are expelled. The model had its limitation by explaining same evaporation rate constant among ions with different chemical properties.
In the charge residue model the assumption of one molecule per droplet leads to an ionization rate constant, which is independent of the ion itself and relies solely on the generation of the droplet and the efficiency of the solvent \citep{Wilm2011}.

Matrix-assisted laser desorption/ionization (MALDI)

#### Coupled mass-spectrometry (MS/MS)

In order to enhance sequence identification, two MS devices are built in series. In the first run (MS1) the m/z is determined and the molecules are passed to the next device. Upon passing the molecules are fragmented into smaller ions and analyzed by the second MS. The fragmentation highly depends on the chemical bonds found in the molecule. The majority of these breaks occur on the peptide bond of the protein, although this is not guaranteed for all bonds and so it can happen that certain peptide ions have a low abundance \citep{Budnik2018}. These low abundant peptides will not be detected, hence the problem needs to be faced with another approach . A solution for this problem is molecular barcoding with labeling mentioned in the chapter labeling.

#### Labeling techniques

For differential analysis proteins need to be labeled to compare mass to charge intensities. Since mass spectrometry is not a quantitative technique by itself, the peak height or area does not reflect the abundance of a peptide. Physicochemical properties of the proteins can change the ionization efficiency and detectability of the target. However, when comparing the same analyte between multiple runs of labeled proteins, differences in the mass spectrum reflect the abundance of those. Labels should be chosen to change solely the mass of the sample and to not affect folding or other inherent properties of the protein.

#### Metabolic labeling

Feeding cells with aminoacids containing heavy isotopes, is the method of choice in order to label peptides at the earliest possible level. This atoms can be heavy nitrogen in aminoacids or salts in fertilizer for plants. Mass shifts are proportional to the isotopes incorporated during biomass production and are visible after proteolytic cleavage. Stable isotope labeling in cell culture (SILAC) was presented in the early 2000s. This method used heavy aminoacid enriched media to feed cells, in order to quantitatively analyze expression profiles.

##### Isobaric labeling

###### Tandem mass tag (TMT)

Tandem mass tag (TMT) reagents enable to differentiate multiple samples analyzing in one MS run.
The samples are labeled individually and pooled afterwards, this procedure is called multiplexing. All TMTs have the same mass and can be found at the same peak in all samples, these peaks are called reporter ions (RI). The identification of these RI leads to an enrichment and identification of low abundance peptide ions which is common especially in single-cell techniques. With this technique it is possible to quantify proteins and differ low abundant proteins from background noise.
The disadvantage of isobaric labeling is, that the co-fragmentation signals can be observed in the spectrogram and the data needs to be normalized in order to remove unwanted contribution \citep{Marx2019, Budnik2018}.

### MS-Spectrum

Each peptide is reflected by its` indivual fingerprint in the ms-spectrum. The fingerprint is based on the chemical properties and modifications. In order to identify proteins, fingerprints are matched against a sequence database \citep{Cox2008}.

### Interpretation of the data

Since ms data has a high resoultuion, algorithms are used to convert peaks to an interpretable form. These algorithms find local minima of the function to seperate peaks from each other. Peaks include all isotopes of the protein`s containing atoms.
MaxQuant \citep{Cox2008} is one of the sofware packages to process the data and provides it for further analysis and statistical testing. To find the istopic distribution of a biomolecule, MaxQuant creates a vertex of every single peak and connects them with their possible isotopic counterparts by finding the proportion of mass of an average aminoacid to its` respective isotope (averagine \citep{Senko1995}). After this procedure a large amount of noise is reduced and a single peak reflects a small biomolecule. These biomolecules can now be searched in a database in forward and reverse direction. The peptide identification (P-) score indicates the fit of the data to the found sequence in the database according to the length of the peptide and is used to calculate the posterior error probability (FDR). The calculation of the false discovery rate is then calculated by taking FDR into contrast. After these calculation the peptide peaks are joined to a protein and can be quantified.

#### Principle component analysis (PCA)

Protein levels can be projected to their principle components (PC) and clustered to their specific cell type. So cell types are distinguished by their proteinaceous composition.

#### Testing for differential expression

According to the experiment and sample groups, individual statistical methods should be used.

follow sctranscr. analysis pipe

signatures of cell clustures

monocyte data acvailiabe

tmt label --> noise reduction

tools for clustering

plst, knm,